## Kontroll-Standard-9erMix
Chromatogram and Results
Injection Details
Injection Name: |  | Kontroll_StandardMix |  |  | Run Time (min): | 37
Vial Number: |  | RE7 |  |  | Injection Volume: | 4
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 19:43 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 | DHQ | 8.023 | 15.893 | 103.503 | 17.24 | 12.18 | 23.9074
2 | DHK | 10.22 | 15.014 | 127.25 | 16.29 | 14.98 | 25.5221
3 | Sulfuretin | 11.517 | 5.98 | 59.324 | 6.49 | 6.98 | 21.874
4 |  | 12.32 | 0.645 | 6.545 | 0.7 | 0.77 | n.a.
5 | Luteolin | 12.527 | 8.173 | 86.851 | 8.87 | 10.22 | 22.4014
6 | Quercetin | 12.697 | 7.945 | 67.11 | 8.62 | 7.9 | 22.4538
7 | Butein | 14.22 | 8.033 | 80.822 | 8.72 | 9.51 | 22.4544
8 | Apigenin | 14.717 | 13.762 | 142.146 | 14.93 | 16.73 | 22.1018
9 | KM | 15.213 | 7.896 | 81.408 | 8.57 | 9.58 | 22.5607
10 | Isoliquiritigenin | 16.71 | 8.823 | 94.517 | 9.57 | 11.13 | 22.5941
Total: |  |  | 92.164 | 849.478 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | Kontroll_StandardMix |  |  | Run Time (min): | 37
Vial Number: |  | RE7 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 19:43 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Sulfuretin | 11.517 | 27.262 | 265.04 | 20.4 | 19.98 | 22.4532
2 | Luteolin | 12.527 | 3.87 | 41.984 | 2.9 | 3.16 | 24.3551
3 | Quercetin | 12.697 | 17.514 | 158.061 | 13.11 | 11.92 | 23.9636
4 | Butein | 14.22 | 34.903 | 344.944 | 26.12 | 26 | 23.2774
5 | Apigenin | 14.717 | 2.607 | 22.666 | 1.95 | 1.71 | 24.122
6 | KM | 15.213 | 13.557 | 134.477 | 10.15 | 10.14 | 24.1828
7 |  | 15.637 | 0.273 | 1.224 | 0.2 | 0.09 | n.a.
8 | Isoliquiritigenin | 16.71 | 33.634 | 358.148 | 25.17 | 27 | 23.1931
Total: |  |  | 133.621 | 1326.542 | 100 | 100

## Okanin-Kontr-Standard
Chromatogram and Results
Injection Details
Injection Name: |  | Okanin-Kontroll-Std |  |  | Run Time (min): | 37
Vial Number: |  | RE8 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 20:27 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 |  | 9.31 | 0.111 | 0.83 | 0.17 | 0.15 | n.a.
2 | Okanin | 10.557 | 64.743 | 561.423 | 99.83 | 99.85 | 277.1942
Total: |  |  | 64.854 | 562.254 | 100 | 100

## Samples_290nm
Chromatogram and Results
Injection Details
Injection Name: |  | 1_1_in_Taka_Tuka 11-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD1 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 22:39 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.333 | 0.436 | 2.669 | 1.09 | 0.84 | n.a.
2 |  | 6.947 | 3.372 | 18.75 | 8.42 | 5.9 | n.a.
3 |  | 7.63 | 1.965 | 12.908 | 4.91 | 4.06 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 8.75 | 0.394 | 3.41 | 0.99 | 1.07 | n.a.
5 |  | 9.347 | 0.253 | 2.46 | 0.63 | 0.77 | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 |  | 10.553 | 25.607 | 208.833 | 63.98 | 65.66 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 |  | 12.323 | 0.488 | 5.619 | 1.22 | 1.77 | n.a.
8 | Luteolin | 12.53 | 5.238 | 47.608 | 13.09 | 14.97 | 14.3582
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 |  | 13.67 | 0.396 | 3.839 | 0.99 | 1.21 | n.a.
10 | Butein | 14.23 | 1.543 | 9.024 | 3.85 | 2.84 | 4.3122
11 |  | 14.613 | 0 | 0.015 | 0 | 0 | n.a.
12 | Apigenin | 14.717 | 0.043 | 0.512 | 0.11 | 0.16 | 0.0694
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
13 |  | 16.973 | 0.001 | 0.022 | 0 | 0.01 | n.a.
14 |  | 17.14 | 0.29 | 2.381 | 0.72 | 0.75 | n.a.
Total: |  |  | 40.027 | 318.053 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 2_1_out_Taka_Tuka_11-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD2 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 00:07 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.367 | 0.513 | 2.949 | 1.4 | 1 | n.a.
2 |  | 7 | 4.468 | 28.677 | 12.15 | 9.68 | n.a.
3 |  | 7.623 | 18.008 | 136.198 | 48.95 | 45.96 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 8.75 | 0.271 | 2.43 | 0.74 | 0.82 | n.a.
5 |  | 9.35 | 0.407 | 3.917 | 1.11 | 1.32 | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 |  | 10.57 | 5.372 | 54.477 | 14.6 | 18.38 | n.a.
7 |  | 10.65 | 4.34 | 39.538 | 11.8 | 13.34 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
8 |  | 12.057 | 0.066 | 0.769 | 0.18 | 0.26 | n.a.
9 |  | 12.32 | 0.287 | 2.712 | 0.78 | 0.92 | n.a.
10 | Luteolin | 12.533 | 0.552 | 4.537 | 1.5 | 1.53 | 1.5136
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
11 |  | 13.67 | 1.087 | 10.778 | 2.95 | 3.64 | n.a.
12 | Butein | 14.31 | 1.148 | 7.137 | 3.12 | 2.41 | 3.2095
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
13 |  | 16.967 | 0.001 | 0.029 | 0 | 0.01 | n.a.
14 |  | 17.14 | 0.265 | 2.183 | 0.72 | 0.74 | n.a.
Total: |  |  | 36.786 | 296.33 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 3_2_in_Taka_Tuka_17-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD3 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 01:35 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.387 | 0.486 | 2.988 | 1.44 | 1.15 | n.a.
2 |  | 6.933 | 2.815 | 13.959 | 8.36 | 5.39 | n.a.
3 |  | 7.62 | 1.055 | 4.788 | 3.13 | 1.85 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 8.753 | 0.518 | 4.285 | 1.54 | 1.65 | n.a.
5 |  | 9.343 | 0.282 | 2.538 | 0.84 | 0.98 | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 |  | 10.55 | 22.705 | 180.754 | 67.4 | 69.77 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 |  | 12.317 | 0.364 | 4.185 | 1.08 | 1.62 | n.a.
8 | Luteolin | 12.523 | 4.05 | 36.46 | 12.02 | 14.07 | 11.1018
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Butein | 14.223 | 1.132 | 6.822 | 3.36 | 2.63 | 3.1637
10 |  | 14.607 | 0 | 0.009 | 0 | 0 | n.a.
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
11 |  | 17.137 | 0.279 | 2.27 | 0.83 | 0.88 | n.a.
Total: |  |  | 33.686 | 259.057 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 4_2_out_Taka_Tuka_17-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD4 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 03:03 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.403 | 0.621 | 3.669 | 1.61 | 1.21 | n.a.
2 |  | 6.993 | 4.837 | 27.72 | 12.51 | 9.12 | n.a.
3 |  | 7.617 | 19.401 | 144.126 | 50.17 | 47.42 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 8.747 | 0.263 | 2.205 | 0.68 | 0.73 | n.a.
5 |  | 9.343 | 0.474 | 4.64 | 1.23 | 1.53 | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 |  | 10.56 | 5.733 | 58.227 | 14.82 | 19.16 | n.a.
7 |  | 10.647 | 4.335 | 38.089 | 11.21 | 12.53 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
8 | Luteolin | 12.523 | 0.598 | 5.222 | 1.55 | 1.72 | 1.6395
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 |  | 13.66 | 1.11 | 11.01 | 2.87 | 3.62 | n.a.
10 | Butein | 14.3 | 1.047 | 6.837 | 2.71 | 2.25 | 2.9279
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
11 |  | 17.13 | 0.252 | 2.168 | 0.65 | 0.71 | n.a.
Total: |  |  | 38.672 | 303.913 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 5_3_in_Taka_Tuka_18-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD5 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 05:59 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.417 | 0.51 | 3.327 | 1.84 | 1.64 | n.a.
2 |  | 6.92 | 2.725 | 13.245 | 9.83 | 6.54 | n.a.
3 |  | 7.607 | 1.264 | 7.164 | 4.56 | 3.54 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 8.74 | 0.464 | 3.811 | 1.67 | 1.88 | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 |  | 10.54 | 18.508 | 139.7 | 66.72 | 68.96 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 |  | 12.307 | 0.305 | 3.479 | 1.1 | 1.72 | n.a.
7 | Luteolin | 12.513 | 2.72 | 24.009 | 9.81 | 11.85 | 7.4561
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
8 | Butein | 14.213 | 0.963 | 5.58 | 3.47 | 2.75 | 2.6904
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 |  | 17.123 | 0.28 | 2.281 | 1.01 | 1.13 | n.a.
Total: |  |  | 27.738 | 202.596 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 6_3_out_Taka_Tuka_18-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD6 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 07:27 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.423 | 0.563 | 3.78 | 2.17 | 2.28 | n.a.
2 |  | 6.987 | 3.1 | 16.542 | 11.97 | 9.96 | n.a.
3 |  | 7.613 | 11.985 | 86.482 | 46.28 | 52.09 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 9.333 | 0.263 | 2.561 | 1.02 | 1.54 | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 |  | 10.57 | 8.019 | 40.59 | 30.96 | 24.45 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 | Luteolin | 12.513 | 0.338 | 2.906 | 1.3 | 1.75 | 0.9253
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 |  | 13.65 | 0.711 | 6.78 | 2.75 | 4.08 | n.a.
8 | Butein | 14.29 | 0.646 | 4.156 | 2.49 | 2.5 | 1.8051
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 |  | 17.12 | 0.274 | 2.214 | 1.06 | 1.33 | n.a.
Total: |  |  | 25.898 | 166.011 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 7_4_in_Taka_Tuka_2020_in |  |  | Run Time (min): | 37
Vial Number: |  | RD7 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 08:55 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.427 | 0.492 | 3.31 | 2.36 | 1.9 | n.a.
2 |  | 6.913 | 2.338 | 11.158 | 11.22 | 6.4 | n.a.
3 |  | 7.603 | 0.799 | 3.916 | 3.83 | 2.25 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 8.733 | 0.33 | 2.658 | 1.59 | 1.53 | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 |  | 10.54 | 10.996 | 93.234 | 52.75 | 53.49 | n.a.
6 |  | 10.65 | 2.693 | 34.193 | 12.92 | 19.62 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 |  | 12.3 | 0.186 | 2.119 | 0.89 | 1.22 | n.a.
8 | Luteolin | 12.51 | 2.022 | 17.6 | 9.7 | 10.1 | 5.5415
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Butein | 14.21 | 0.714 | 3.918 | 3.42 | 2.25 | 1.9952
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
10 |  | 17.12 | 0.275 | 2.205 | 1.32 | 1.27 | n.a.
Total: |  |  | 20.844 | 174.311 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 8_4_out_Taka_Tuka_2020_out |  |  | Run Time (min): | 37
Vial Number: |  | RD8 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_1
Calibration Level: |  |  |  |  | Wavelength: | 290 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 10:23 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
1 |  | 6.43 | 0.533 | 3.693 | 3.15 | 3.51 | n.a.
2 |  | 6.98 | 1.905 | 9.291 | 11.25 | 8.83 | n.a.
3 |  | 7.607 | 6.401 | 46.046 | 37.79 | 43.76 | n.a.
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 10.61 | 6.698 | 35.156 | 39.54 | 33.41 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Luteolin | 12.51 | 0.191 | 1.781 | 1.13 | 1.69 | 0.5224
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 |  | 13.65 | 0.412 | 3.943 | 2.43 | 3.75 | n.a.
7 | Butein | 14.287 | 0.527 | 3.124 | 3.11 | 2.97 | 1.4732
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
8 |  | 17.12 | 0.271 | 2.183 | 1.6 | 2.07 | n.a.
Total: |  |  | 16.938 | 105.216 | 100 | 100

## Samples_385nm
Chromatogram and Results
Injection Details
Injection Name: |  | 1_1_in_Taka_Tuka 11-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD1 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 22:39 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.55 | 120.945 | 1158.651 | 92.23 | 94.67 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.53 | 2.596 | 23.002 | 1.98 | 1.88 | 16.3356
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 13.06 | 0.402 | 3.117 | 0.31 | 0.25 | n.a.
4 | Butein | 14.233 | 7.187 | 39.103 | 5.48 | 3.2 | 4.7928
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 |  | 15.003 | 0 | 0.004 | 0 | 0 | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 131.13 | 1223.876 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 2_1_out_Taka_Tuka_11-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD2 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 00:07 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.56 | 26.019 | 221.301 | 82.78 | 85.58 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.533 | 0.265 | 2.164 | 0.84 | 0.84 | 1.6705
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Butein | 14.31 | 5.148 | 35.103 | 16.38 | 13.58 | 3.4331
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 14.993 | 0 | 0.007 | 0 | 0 | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 31.432 | 258.575 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 3_2_in_Taka_Tuka_17-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD3 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 01:35 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.55 | 104.886 | 989.382 | 93.24 | 95.22 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.523 | 2.031 | 17.649 | 1.81 | 1.7 | 12.7843
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 13.057 | 0.308 | 2.324 | 0.27 | 0.22 | n.a.
4 | Butein | 14.227 | 5.271 | 29.642 | 4.69 | 2.85 | 3.5155
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 |  | 14.987 | 0 | 0.01 | 0 | 0 | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 112.497 | 1039.008 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 4_2_out_Taka_Tuka_17-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD4 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 03:03 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.55 | 28.236 | 244.123 | 84.05 | 86.98 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.523 | 0.311 | 2.562 | 0.93 | 0.91 | 1.9578
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Butein | 14.3 | 5.049 | 33.987 | 15.03 | 12.11 | 3.367
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 |  | 14.977 | 0 | 0.004 | 0 | 0 | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 33.596 | 280.676 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 5_3_in_Taka_Tuka_18-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD5 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 05:59 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.54 | 80.212 | 747.04 | 92.93 | 95.21 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.513 | 1.411 | 11.658 | 1.63 | 1.49 | 8.879
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 13.043 | 0.189 | 1.669 | 0.22 | 0.21 | n.a.
4 | Butein | 14.217 | 4.506 | 24.268 | 5.22 | 3.09 | 3.0049
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 |  | 14.973 | 0 | 0.005 | 0 | 0 | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 86.317 | 784.64 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 6_3_out_Taka_Tuka_18-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD6 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 07:27 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.543 | 17.363 | 142.171 | 83.89 | 86.51 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.513 | 0.165 | 1.407 | 0.8 | 0.86 | 1.0403
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | Butein | 14.29 | 3.17 | 20.769 | 15.32 | 12.64 | 2.1142
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 20.698 | 164.347 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 7_4_in_Taka_Tuka_2020_in |  |  | Run Time (min): | 37
Vial Number: |  | RD7 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 08:55 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.537 | 53.268 | 477.83 | 92.21 | 94.55 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.51 | 0.99 | 8.524 | 1.71 | 1.69 | 6.2303
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 13.04 | 0.15 | 1.36 | 0.26 | 0.27 | n.a.
4 | Butein | 14.28 | 3.358 | 17.669 | 5.81 | 3.5 | 2.2395
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 57.767 | 505.384 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 8_4_out_Taka_Tuka_2020_out |  |  | Run Time (min): | 37
Vial Number: |  | RD8 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Flavonoide_2019-0517 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 10:23 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | µg/ml
n.a. | DHQ | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | DHK | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 |  | 10.543 | 10.671 | 86.493 | 81.1 | 83.36 | n.a.
n.a. | Sulfuretin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | Luteolin | 12.513 | 0.103 | 0.864 | 0.79 | 0.83 | 0.6503
n.a. | Quercetin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 |  | 13.043 | 0.111 | 0.972 | 0.84 | 0.94 | n.a.
4 | Butein | 14.29 | 2.273 | 15.434 | 17.27 | 14.87 | 1.5157
n.a. | Apigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | KM | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Isoliquiritigenin | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
Total: |  |  | 13.158 | 103.763 | 100 | 100

## Samples_Okanin-Check
Chromatogram and Results
Injection Details
Injection Name: |  | 1_1_in_Taka_Tuka 11-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD1 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 21:55 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.567 | 30.156 | 258.208 | 91.44 | 91.43 | 129.1121
2 |  | 11.753 | 0.22 | 0.557 | 0.67 | 0.2 | n.a.
3 |  | 12.537 | 0.7 | 5.112 | 2.12 | 1.81 | n.a.
4 |  | 13.063 | 0.128 | 0.791 | 0.39 | 0.28 | n.a.
5 |  | 14.237 | 0.777 | 9.126 | 2.36 | 3.23 | n.a.
6 |  | 14.307 | 0.997 | 8.603 | 3.02 | 3.05 | n.a.
Total: |  |  | 32.977 | 282.397 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 1_1_in_Taka_Tuka 11-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD1 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 22:39 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.55 | 120.945 | 1158.651 | 92.23 | 94.67 | 517.8246
2 |  | 12.53 | 2.596 | 23.002 | 1.98 | 1.88 | n.a.
3 |  | 13.06 | 0.402 | 3.117 | 0.31 | 0.25 | n.a.
4 |  | 14.233 | 7.187 | 39.103 | 5.48 | 3.2 | n.a.
5 |  | 15.003 | 0 | 0.004 | 0 | 0 | n.a.
Total: |  |  | 131.13 | 1223.876 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 2_1_out_Taka_Tuka_11-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD2 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-25 23:23 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.57 | 6.409 | 47.706 | 83.08 | 80.44 | 27.4413
2 |  | 14.217 | 0.225 | 3.284 | 2.92 | 5.54 | n.a.
3 |  | 14.313 | 1.08 | 8.313 | 14 | 14.02 | n.a.
Total: |  |  | 7.714 | 59.303 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 2_1_out_Taka_Tuka_11-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD2 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 00:07 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 |  | 9.303 | 0.129 | 0.915 | 0.41 | 0.33 | n.a.
2 | Okanin | 10.56 | 26.019 | 221.301 | 81.93 | 80.41 | 111.3989
3 |  | 12.533 | 0.265 | 2.164 | 0.84 | 0.79 | n.a.
4 |  | 13.06 | 0.195 | 1.633 | 0.61 | 0.59 | n.a.
5 |  | 14.213 | 0.965 | 14.117 | 3.04 | 5.13 | n.a.
6 |  | 14.31 | 4.183 | 35.103 | 13.17 | 12.75 | n.a.
Total: |  |  | 31.756 | 275.232 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 3_2_in_Taka_Tuka_17-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD3 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 00:51 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.563 | 25.97 | 223.225 | 93.56 | 92.87 | 111.1915
2 |  | 12.533 | 0.467 | 3.895 | 1.68 | 1.62 | n.a.
3 |  | 14.233 | 0.605 | 7.049 | 2.18 | 2.93 | n.a.
4 |  | 14.27 | 0.714 | 6.199 | 2.57 | 2.58 | n.a.
Total: |  |  | 27.757 | 240.369 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 3_2_in_Taka_Tuka_17-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD3 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 01:35 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.55 | 104.886 | 989.382 | 93.24 | 95.22 | 449.0687
2 |  | 12.523 | 2.031 | 17.649 | 1.81 | 1.7 | n.a.
3 |  | 13.057 | 0.308 | 2.324 | 0.27 | 0.22 | n.a.
4 |  | 14.227 | 5.271 | 29.642 | 4.69 | 2.85 | n.a.
5 |  | 14.987 | 0 | 0.01 | 0 | 0 | n.a.
Total: |  |  | 112.497 | 1039.008 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 4_2_out_Taka_Tuka_17-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD4 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 02:19 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.56 | 6.96 | 53.238 | 84.47 | 82.03 | 29.8001
2 |  | 14.207 | 0.259 | 3.578 | 3.14 | 5.51 | n.a.
3 |  | 14.303 | 1.021 | 8.085 | 12.39 | 12.46 | n.a.
Total: |  |  | 8.24 | 64.901 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 4_2_out_Taka_Tuka_17-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD4 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 03:03 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 |  | 9.293 | 0.141 | 1.004 | 0.41 | 0.34 | n.a.
2 | Okanin | 10.55 | 28.236 | 244.123 | 83.13 | 81.78 | 120.8926
3 |  | 12.523 | 0.316 | 2.567 | 0.93 | 0.86 | n.a.
4 |  | 13.053 | 0.226 | 1.844 | 0.66 | 0.62 | n.a.
5 |  | 14.203 | 1.074 | 14.994 | 3.16 | 5.02 | n.a.
6 |  | 14.3 | 3.974 | 33.987 | 11.7 | 11.39 | n.a.
Total: |  |  | 33.968 | 298.519 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 5_3_in_Taka_Tuka_18-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD5 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 05:15 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.553 | 19.848 | 166.133 | 93.05 | 92.14 | 84.9768
2 |  | 12.52 | 0.335 | 2.626 | 1.57 | 1.46 | n.a.
3 |  | 13.05 | 0.047 | 0.394 | 0.22 | 0.22 | n.a.
4 |  | 14.22 | 0.477 | 5.727 | 2.23 | 3.18 | n.a.
5 |  | 14.287 | 0.624 | 5.432 | 2.93 | 3.01 | n.a.
Total: |  |  | 21.331 | 180.312 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 5_3_in_Taka_Tuka_18-5-20_in |  |  | Run Time (min): | 37
Vial Number: |  | RD5 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 05:59 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 |  | 9.287 | 0.181 | 1.278 | 0.21 | 0.16 | n.a.
2 | Okanin | 10.54 | 80.212 | 747.04 | 92.73 | 92.4 | 343.4254
3 |  | 12.513 | 1.411 | 11.658 | 1.63 | 1.44 | n.a.
4 |  | 13.043 | 0.189 | 1.669 | 0.22 | 0.21 | n.a.
5 |  | 14.217 | 2.108 | 24.268 | 2.44 | 3 | n.a.
6 |  | 14.283 | 2.398 | 22.593 | 2.77 | 2.79 | n.a.
Total: |  |  | 86.498 | 808.506 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 6_3_out_Taka_Tuka_18-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD6 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 06:43 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.553 | 4.254 | 31.654 | 84.05 | 81.41 | 18.2131
2 |  | 14.197 | 0.166 | 2.224 | 3.28 | 5.72 | n.a.
3 |  | 14.293 | 0.642 | 5.003 | 12.68 | 12.87 | n.a.
Total: |  |  | 5.061 | 38.88 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 6_3_out_Taka_Tuka_18-5-20_out |  |  | Run Time (min): | 37
Vial Number: |  | RD6 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 07:27 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.543 | 17.363 | 142.171 | 83.27 | 81.31 | 74.3381
2 |  | 12.513 | 0.176 | 1.422 | 0.84 | 0.81 | n.a.
3 |  | 13.043 | 0.143 | 1.215 | 0.68 | 0.69 | n.a.
4 |  | 14.193 | 0.687 | 9.284 | 3.3 | 5.31 | n.a.
5 |  | 14.29 | 2.483 | 20.769 | 11.91 | 11.88 | n.a.
Total: |  |  | 20.851 | 174.861 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 7_4_in_Taka_Tuka_2020_in |  |  | Run Time (min): | 37
Vial Number: |  | RD7 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 08:11 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.55 | 13.276 | 105.797 | 92.53 | 91.13 | 56.8423
2 |  | 12.517 | 0.235 | 1.935 | 1.64 | 1.67 | n.a.
3 |  | 14.22 | 0.351 | 4.083 | 2.45 | 3.52 | n.a.
4 |  | 14.283 | 0.486 | 4.276 | 3.38 | 3.68 | n.a.
Total: |  |  | 14.348 | 116.091 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 7_4_in_Taka_Tuka_2020_in |  |  | Run Time (min): | 37
Vial Number: |  | RD7 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 08:55 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.537 | 53.106 | 477.821 | 91.91 | 91.39 | 227.3713
2 |  | 11.717 | 0.11 | 0.426 | 0.19 | 0.08 | n.a.
3 |  | 12.51 | 1.051 | 8.555 | 1.82 | 1.64 | n.a.
4 |  | 13.04 | 0.157 | 1.369 | 0.27 | 0.26 | n.a.
5 |  | 14.213 | 1.466 | 17.019 | 2.54 | 3.25 | n.a.
6 |  | 14.28 | 1.892 | 17.669 | 3.27 | 3.38 | n.a.
Total: |  |  | 57.782 | 522.86 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 8_4_out_Taka_Tuka_2020_out |  |  | Run Time (min): | 37
Vial Number: |  | RD8 |  |  | Injection Volume: | 1 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 09:39 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.55 | 2.677 | 19.484 | 82.44 | 78.8 | 11.4608
2 |  | 14.197 | 0.103 | 1.532 | 3.17 | 6.2 | n.a.
3 |  | 14.293 | 0.467 | 3.71 | 14.39 | 15.01 | n.a.
Total: |  |  | 3.247 | 24.727 | 100 | 100
Chromatogram and Results
Injection Details
Injection Name: |  | 8_4_out_Taka_Tuka_2020_out |  |  | Run Time (min): | 37
Vial Number: |  | RD8 |  |  | Injection Volume: | 4 | µl
Injection Type: |  | Unknown |  |  | Channel: | UV_VIS_4
Calibration Level: |  |  |  |  | Wavelength: | 385 | nm
Instrument Method: |  | Flavonoide-3_0,1%_FormicAc_lang |  |  | Bandwidth: | 6
Processing Method: |  | Okanin_2019-05-17 (2-Punkt-Kalib) |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2020-05-26 10:23 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peak Name | Retention Time | Area | Height | Relative Area | Relative Height | Amount
|  | min | mAU*min | mAU | % | % | ng
1 | Okanin | 10.543 | 10.671 | 86.493 | 80.93 | 78.59 | 45.6878
2 |  | 12.513 | 0.117 | 0.884 | 0.89 | 0.8 | n.a.
3 |  | 13.043 | 0.125 | 0.997 | 0.95 | 0.91 | n.a.
4 |  | 14.193 | 0.439 | 6.252 | 3.33 | 5.68 | n.a.
5 |  | 14.29 | 1.834 | 15.434 | 13.91 | 14.02 | n.a.
Total: |  |  | 13.186 | 110.059 | 100 | 100